April 26th, 2018

The Natural Resources Conservation Service (NRCS) in Arkansas has evaluated the installation and calibration procedures for flow meters set forth by Smart Farm, Inc. These installation and calibration procedures have been deemed acceptable for establishing adequate flow data in installation situations that are more restrictive than allowed by the manufacturer’s standard requirements. NRCS will accept the installation and calibration certificate from Smart Farm, Inc. as documentation to satisfy the standards and specification requirements.

Charolette Bowie

State Irrigation Engineer

Natural Resources Conservation Service